## Slide 1: Energy Board

## Slide 2
Event Board
Power Board
Anode Boards (x4)
Energy Boards (x8)
EPI-Lo Electronics Overview

## Slide 3
EPI-Lo Block Diagram

## Slide 4
APL ASIC Energy Chip
SSD Bias Voltage Connection
Detector Pin Sockets
Integrated Flex Cable
Protective Cover
Ultem Detector Mount
Energy Board
Solid State Detector
Detector Pin Sockets
Test bench standoffs/PCB
EPI-Lo – Energy Board

## Slide 5
APL Hockey Pucks
  JUNO/JEDI
  Van Allen Probes/RBSPICE
  MMS/EIS
  New Horizons/PEPPSI
APL Energy ASIC Heritage

## Slide 6
Noise width: < 15 keV FWHM
Energy Board Requirements

## Slide 7
Energy Board Schematic

## Slide 8
(not to scale)
Energy Board PCB Layer Stackup

## Slide 9
50 mV/div
2 us/div
Peak Detect Reset
Yellow – Energy Board Output
Red – Peak Detect Output
E ~ 238 keV
Energy Board Output Waveforms (1)

## Slide 10
50 mV/div
2 us/div
Peak Detect Reset
Yellow – Energy Board Output
Red – Peak Detect Output
E ~ 60 keV
Energy Board Output Waveforms (2)

## Slide 11
J9
J10
Small coupling capacitor siphons off a small amount of charge from the primary ion channel
J10 installed: Default configuration for unused channel
J9 installed: High energy channel configuration
High Energy Ion Extension
Implementation

## Slide 12
Energy Board
High Energy Ion Extension
Test Circuit

## Slide 13
High Energy Ion Extension
Output (E > 50 MeV)
Pulsewidth (ignores glitch)
Yellow – Ion High Gain Channel Peak Detect Output (1 V/div)
Maroon – Ion Low Gain Channel Output (50 mV/div)
Blue – Ion Low Gain Channel Peak Detect Output (50 mV/div)
Green – Ion Low Gain Leading Edge Discriminator (5 V/div)
*Data courtesy of Ken Nelson

## Slide 14
Raised Threshold
Nominal Threshold
*Data courtesy of Ken Nelson
High Energy Ion Extension
Output (E < 50 MeV)
Yellow – Ion High Gain Channel Peak Detect Output (1 V/div)
Maroon – Ion Low Gain Channel Output (50 mV/div)
Blue – Ion Low Gain Channel Peak Detect Output (50 mV/div)
Green – Ion Low Gain Leading Edge Discriminator (5 V/div)

## Slide 15
Pulse height measurement used up to ~1.5 MeV
Pulse width measurement used in 1.5 MeV < E < 20 MeV
Low gain channel pulse width measurement used for E > 50 MeV (high gain preamp saturates)
For a continuous range of measurements other methods are required for ions with 20 MeV < E < 50 MeV
Use Electron pixel for 20 MeV < E < 50 MeV
  Fabricate with thicker flashing to absorb ~17 – 26 MeV of ion energy
  Resulting ions deposit ~3 – 24 MeV in detector
  Electrons do not deposit this much energy in 700 um of Si
  Require valid TOF
High Energy Ion Extension
Current Methodology

## Slide 16
Sweep a pulser over energy range
Use source peaks to calibrate the pulser
Generate calibration table
For source points shown, error < 0.05 %
Other channels better than 0.5 %
Higher energy points needed
  Plan to use Bi207 for ~1 MeV electrons
Energy Board Calibration

## Slide 17
*Test bench ADC glitch
*
Energy Board X-ray Spectra

## Slide 18
Energy Board Thermal Testing
Eu155 Spectra

## Slide 19
Energy Board Thermal Testing
Peak Width

## Slide 20
Energy Board Thermal Testing
Peak Location Stability

## Slide 21
Energy Board Summary
Energy Board meets/exceeds all requirements
Extended ion energy range: 50 keV – 200 MeV
  Normal ion channel E < 20 MeV
  Elec channel with thicker flashing 20 MeV < E < 50 MeV
  Ion extended energy channel E > 50 MeV
  Not yet tested with high energy ions
Energy Board is on it’s way to being well calibrated
  Calibration at low energies is very good
  Higher energy points needed
  Bi207 (~1 MeV electrons)
Energy Board thermal characteristics are acceptable
  Noise width remains within spec beyond expected operating temperatures
  Observed effects are small
  Verify with higher energy point: Ba133 (356 keV x-ray)